APPENDIX I.15

(See paragraph 5.6.3.1)

minimum quality control standards

NOTE:	See specification for quality-control indicators Q1  to Q 20  at the end of this appendix.

 = space (ASCCI 32)

Element	Error	Action

1	iT ≠ 0–5	Correct manually

2	AAAA valid year	Correct manually otherwise reject

3	MM ≠ 0l–l2	Correct manually otherwise reject

4	YY ≠ valid day of month	Correct manually otherwise reject

5	G ≠ 00-23	Correct manually otherwise reject

6	Q ≠ 1, 3, 5, 7	Correct manually and Q20 = 5, otherwise Q20 = 4

Q = 	Q20 = 2

7	LaLaLa ≠ 000–900	Correct manually and Q20 = 5, otherwise Q20 = 4

LaLaLa = 	Q20 = 2

8	LoLoLoLo ≠ 0000-–1800	Correct manually and Q20 = 5, otherwise Q20 = 4

LoLoLoLo = 	Q20 = 2

But	LaLaLa = LoLoLoLo = ()	Correct manually otherwise reject

Time sequence checks

Change in latitude > 0.7°/hr	Correct manually otherwise Q20 = 3

Change in longitude > 0.7°/hr	Correct manually otherwise Q20 = 3

when latitude 00–39.9

Change in longitude > 1.0°/hr	Correct manually otherwise Q20 = 3

when latitude 40–49.9

Change in longitude > 1.4°/hr	Correct manually otherwise Q20 = 3

when latitude 50–59.9

Change in longitude > 2.0°/hr	Correct manually otherwise Q20 = 3

when latitude 60–69.9

Change in longitude > 2.7°/hr	Correct manually otherwise Q20 = 3

when latitude 70–79.9

9		No checking

10	h ≠ 0–9, 	Correct manually and Q1 = 5, otherwise Q1 = 4

h = 	Q1 = 9

11	VV ≠ 90–99, 	Correct manually and Q2 = 5, otherwise Q2 = 4

VV = 	Q2 = 9

12	N ≠ 0–9, , /	Correct manually and Q3 = 5, otherwise Q3 = 4

N < Nh	Correct manually and Q3 = 5, otherwise Q3 = 2

13	dd ≠ 00–36, 99, 	Correct manually and Q4 = 5, otherwise Q4 = 4

dd = , //	Q4 = 9

dd versus ff

dd = 00, ff ≠ 00	Correct manually and Q4 or Q5 = 5 otherwise Q4 = Q5 = 2

dd ≠ 00, ff = 00	Correct manually and Q4 or Q5 = 5 otherwise Q4 = Q5 = 2

14	iw ≠ 0, 1, 3, 4	Correct manually, otherwise Q5 = 4

15	ff > 80 knots	Correct manually and Q5 = 5, otherwise Q5 = 3

ff = , //	Q5 = 9

16	Sn ≠ 0, 1	Correct manually, otherwise Q6 = 4

17	TTT = , ///	Q6 = 9

If -25 > TTT >40 then

when latitude < 45.0

TTT < –25	Q6 = 4

TTT > 40	Q6 = 3

when latitude >= 45.0

TTT < –25	Q6 = 3

TTT > 40	Q6 = 4

TTT versus humidity parameters

TTT < WB (wet bulb)	Correct manually and Q6 = 5, otherwise Q6 = Q19 = 2

TTT < DP (dew point)	Correct manually and Q6 = Q7 = 5, otherwise Q6 = Q7 = 2

18	sn ≠ 0, 1, 2, 5, 6, 7, 9	Correct manually, otherwise Q7 =4

19	DP > WB	Correct manually and Q7 = 5, otherwise Q7 = Q19 = 2

DP > TTT	Correct manually and Q7 = 5, otherwise Q7 = Q6 = 2

WB = DP = 	Q7 = 9

20	930 > PPPP > 1050 hPa	Correct manually and Q8 = 1, 3 and, if corrected, Q8 = 5

870 > PPPP > 1070 hPa	Correct manually and Q8 = 5, otherwise Q8 = 4

PPPP = 	Q8 = 9

21	ww = 22–24, 26, 36–39, 48, 49, 56, 57,	Correct manually and Q9 = 5, otherwise Q9 = 4

66–79, 83–88, 93, 94 and latitude <20°

22, 23	W1 = W2 = 7 and latitude <20°	Correct manually and Q9 = 5, otherwise Q9 = 4

W1 < W2	Correct manually and Q9 = 5, otherwise Q9 = 4

W1 = W2 = , /	Q9 = 9

24-27	N = 0, , 9 and NhCLCMCH ≠ 	Correct manually and Q3 = 5, otherwise Q3 = 4

28	sn ≠ 0, 1	Correct manually otherwise Q10 = 4

29	TwTwTw = , ///	Q10 = 9

if -2.0 > TwTwTw > 37.0 then

when latitude < 45.0

TwTwTw < –2.0	Control manually and Q10 = 5, otherwise Q10 = 4

TwTwTw > 37.0	Control manually and Q10 = 5, otherwise Q10 = 3

when latitude >= 45.0

TwTwTw < –2.0	Control manually and Q10 = 5, otherwise Q10 = 3

TwTwTw > 37.0	Control manually and Q10 = 5, otherwise Q10 = 4

30	Indicator ≠ 0–7, 	Correct manually, make it if not correctable

31	Indicator ≠ 0–9, 	Correct manually, make it if not correctable

32	20 < PwPw < 30	Q11 = 3

PwPw > 30 and ≠ 99	Q11 = 4

PwPw = , //	Q11 = 9

33	35< HwHw < 50	Q12 = 3

HwHw > = 50	Q12 = 4

HwHw = , //	Q12 = 9

34	dw1 dw1 ≠ 00–36, 99, 	Correct manually and Q13 = 5, otherwise Q13 = 4

swell1 = swell2 = 	Q13 = 9

35	25 < Pw1Pw1 < 30	Q13 = 3

Pw1Pw1 > 30 and ≠ 99	Q13 = 4

36	35 < Hw1Hw1 < 50	Q13 = 3

Hw1Hw1 > = 50	Q13 = 4

37	Is ≠ 1-5, 	Correct manually, otherwise 

38	EsEs ≠ 00–99, 	Correct manually, otherwise 

39	Rs ≠ 0-4, 	Correct manually, otherwise 

40	Source ≠ 0–6	Correct manually

41	Platform ≠ 0–9	Correct manually

42	No call sign	Insert manually

43	No country code	Insert manually

44		No quality control

45	Q ≠ 0–6, 9	Correct manually

46	ix ≠ 1–7	Correct manually

47	iR = 0–2 and RRR = 000, ///, 	Correct manually, otherwise Q14 = 4

iR = 3 and RRR ≠ 000, ///, 	Correct manually, otherwise Q14 = 2

iR = 4 and RRR ≠ ///, 	Correct manually, otherwise Q14 = 2

48	RRR ≠ 001–999 and iR = 1, 2	Correct manually and Q14 = 5, otherwise Q14 = 2

49	tR ≠ 0–9	Correct manually and Q14 = 5, otherwise Q14 = 4

50	sn ≠ 0, 1, 2, 5, 6, 7, 9	Correct manually, otherwise Q19 = 4

51	WB < DP	Correct manually and Q19 = 5, otherwise Q19 = Q7 = 2

WB = ///, 	Q19 = 9

WB > TTT	Correct manually and Q19 = 5, otherwise Q19 = Q6 = 2

52	a ≠ 0–8, 	Correct manually and Q15 = 5, otherwise Q15 = 4

a = 4 and ppp ≠ 000	Correct manually and Q15 = 5, otherwise Q15 = Q16 = 2

a = 	Q15 = 9

53	ppp > 150	Correct manually and Q16 = 1, 3 and if corrected Q16 = 5

ppp > 250	Correct manually and Q16 = 5 otherwise Q16 = 4

ppp = 	Q16 = 9

54	Ds ≠ 0-9, 	Correct manually and Q17 = 5, otherwise Q17 = 4

Ds = , /	Q17 = 9

55	Vs ≠ 0–9, 	Correct manually and Q18 = 5, otherwise Q18 = 4

Vs = , /	Q18 = 9

56	dw2dw2 ≠ 00–36, 99	Correct manually and Q13 = 5, otherwise Q13 = 4

57	25 < Pw2Pw2 < 30	Q13 = 3

Pw2Pw2 > 30 and ≠ 99	Q13 = 4

58	35 < Hw2Hw2 < 50	Q13 = 3

Hw2Hw2 >= 50	Q13 = 4

59	ci ≠ 0–9, 	Correct manually, otherwise 

60	si ≠ 0–9, 	Correct manually, otherwise 

61	bi ≠ 0–9, 	Correct manually, otherwise 

62	Di ≠ 0–9, 	Correct manually, otherwise 

63	zi ≠ 0–9, 	Correct manually, otherwise 

Specifications for quality control indicators Q1 to Q20

0	No quality control (QC) has been performed on this element

1	QC has been performed; element appears to be correct

2	QC has been performed; element appears to be inconsistent with other elements

3	QC has been performed; element appears to be doubtful

4	QC has been performed; element appears to be erroneous

5	The value has been changed as a result of QC

6–8	Reserve

9	The value of the element is missing